## PS-X
Zeta potential (mV) of Unmodified particles measured by Student X
Each test is generated through 30 cycles, the data presents the mean, standard error and standard deviation of the all the dataset
A good rule to evaluate the zeta potential quality is the SD is about 10% but not less than 2mV
The resolution of the Zeta Sizer is 0.01mV, and the diameter of the nanoparticle is 500nm
Particle | Mean | SE | SD
1 | -77.05 | 3.5211 | 7.782 | -10.1
2 | -72.46 | 4.2365 | 7.4634 | -10.3
3 | -68.09 | 2.6678 | 6.8771 | -10.1
4 | -87.82 | 2.6789 | 8.6942 | -9.9
5 | -70.19 | 3.7332 | 7.2296 | -10.3
6 | -66.05 | 1.7697 | 6.8031 | -10.3
7 | -53.98 | 2.9634 | 5.506 | -10.2
8 | -73.25 | 3.874 | 7.6913 | -10.5
9 | -86.87 | 3.5589 | 8.6001 | -9.9
10 | -6.66 | 4.2682 | 6.3327 | -95.0856
11 | -66.89 | 2.259 | 7.0234 | -10.5
12 | -69.9 | 3.6148 | 7.4793 | -10.7
13 | -70.73 | 4.5558 | 7.3559 | -10.4
14 | -74.73 | 4.1352 | 7.5477 | -10.1
15 | -81.55 | 5.6807 | 7.9919 | -9.8
16 | -73.4 | 3.1642 | 7.5602 | -10.3
17 | -71.13 | 2.747 | 6.9707 | -9.8
18 | -78.8 | 2.1538 | 8.0376 | -10.2
19 | -61.6 | 4.9745 | 6.2832 | -10.2
20 | -84.93 | 3.0937 | 8.6629 | -10.2
21 | -72.45 | 5.0206 | 7.3899 | -10.2
22 | -71.2 | 2.0922 | 7.3336 | -10.3
23 | 67.74 | 2.9387 | 6.7063 | 9.9
24 | -80.36 | 5.9306 | 7.5538 | -9.4
25 | -61.8 | 4.6676 | 6.2418 | -10.1
26 | -73.56 | 3.6282 | 6.8411 | -9.3
27 | -69.36 | 2.5564 | 6.8666 | -9.9
28 | -68.05 | 4.212 | 6.5328 | -9.6
29 | -71.28 | 2.167 | 7.1993 | -10.1
30 | -74.15 | 1.8165 | 7.7116 | -10.4
31 | -65.41 | 3.0526 | 6.2794 | -9.6
32 | -71.34 | 5.7377 | 6.8486 | -9.6
33 | -60.18 | 2.6462 | 5.6569 | -9.4
34 | -57.85 | 1.9776 | 5.4379 | -9.4
35 | -74.78 | 3.9637 | 8.0015 | -10.7
36 | -68.68 | 3.8701 | 7.2801 | -10.6
37 | -70.71 | 1.8395 | 7.0003 | -9.9
38 | -80.99 | 4.3529 | 8.018 | -9.9
39 | -64.34 | 2.807 | 6.7557 | -10.5
40 | -73.44 | 3.7514 | 7.7112 | -10.5
41 | -74.34 | 0.51577 | 7.5083 | -10.1
42 | -70.89 | 3.1764 | 7.089 | -10
43 | -65.98 | 5.0715 | 6.7959 | -10.3

## PS-Y
Zeta potential (mV) of Unmodified particles measured by Student Y
Each test is generated through 30 cycles, the data presents the mean and standard error of the all the dataset
A good rule to evaluate the zeta potential quality is the SD is about 10% but not less than 2mV
The resolution of the Zeta Sizer is 0.01mV, and the diameter of the nanoparticle is 500nm
Particle | Mean | SE | SD
1 | -78.18 | 3.8406 | 7.3489 | -9.4
2 | -74.9 | 3.7083 | 7.2653 | -9.7
3 | -63.86 | 3.6306 | 6.5137 | -10.2
4 | -70.74 | 2.5901 | 7.1447 | -10.1
5 | -79.08 | 2.793 | 8.0662 | -10.2
6 | -63.3 | 2.2435 | 6.4566 | -10.2
7 | -70.89 | 1.6859 | 6.7346 | -9.5
8 | -72.65 | 2.9769 | 7.3377 | -10.1
9 | -69.37 | 5.1179 | 7.4226 | -10.7
10 | -73.42 | 6.8312 | 7.7091 | -10.5
11 | -71.48 | 3.0428 | 6.9336 | -9.7
12 | -70.18 | 5.2647 | 6.5969 | -9.4
13 | -69.77 | 1.9478 | 7.3258 | -10.5
14 | -61.8 | 4.1539 | 6.3654 | -10.3
15 | -83.14 | 5.3254 | 8.2309 | -9.9
16 | -65.83 | 2.4409 | 6.2538 | -9.5
17 | -8006 | 3.4306 | 7.8459 | -0.098
18 | -68.63 | 5.5525 | 7.2061 | -10.5
19 | -76.85 | 3.4373 | 7.147 | -9.3
20 | -75.78 | 2.8018 | 8.1085 | -10.7
21 | -68.95 | 4.2093 | 6.7571 | -9.8
22 | -70.16 | 3.6902 | 7.1563 | -10.2
23 | -68.4 | 4.8726 | 6.7716 | -9.9
24 | -84.79 | 2.9839 | 9.0725 | -10.7
25 | -75.69 | 2.8323 | 7.6447 | -10.1
26 | -69.17 | 2.3446 | 7.0553 | -10.2
27 | -79.56 | 4.9417 | 7.3991 | -9.3
28 | -71.07 | 4.8895 | 6.8938 | -9.7
29 | -75.87 | 3.9474 | 7.6629 | -10.1
30 | -77.44 | 2.0441 | 8.2086 | -10.6
31 | -62.59 | 4.4437 | 6.572 | -10.5
32 | -95.48 | 4.307 | 9.0706 | -9.5
33 | -73.36 | 1.6438 | 7.0426 | -9.6
34 | -71.85 | 5.1102 | 7.2569 | -10.1
35 | -77.78 | 3.7653 | 7.778 | -10
36 | -70.95 | 4.4307 | 6.6693 | -9.4
37 | -65.67 | 5.6675 | 6.173 | -9.4
38 | -64.38 | 2.829 | 6.5668 | -10.2
39 | -7.87 | 4.7389 | 7.087 | -90.0508
40 | -84.61 | 3.2836 | 8.038 | -9.5
41 | -93.78 | 2.1087 | 10.0345 | -10.7
42 | -79.93 | 4.3571 | 8.0729 | -10.1
43 | -61.58 | 3.4465 | 5.7269 | -9.3
44 | -74.88 | 1.6948 | 7.3382 | -9.8
45 | -69.08 | 2.3646 | 6.4244 | -9.3

## PA-C
Zeta potential (mV) of Peptide A modified particles from C terminal
Each test is generated through 30 cycles, the data presents the mean and standard error of the all the dataset
A good rule to evaluate the zeta potential quality is the SD is about 10% but not less than 2mV
The resolution of the Zeta Sizer is 0.01mV, and the diameter of the nanoparticle is 500nm
Particle | Mean | SE | SD
1 | -38.67 | 1.9889 | 3.5963 | -9.3
2 | -28.54 | 2.5729 | 2.8825 | -10.1
3 | -28.41 | 2.2037 | 2.9262 | -10.3
4 | -34.64 | 2.4578 | 3.6718 | -10.6
5 | -37.09 | 2.1996 | 3.4494 | -9.3
6 | -30.52 | 2.7012 | 2.991 | -9.8
7 | -31.29 | 2.1422 | 3.2854 | -10.5
8 | -30.52 | 2.6537 | 2.8689 | -9.4
9 | -32.59 | 2.3803 | 3.3568 | -10.3
10 | -40.7 | 2.4227 | 4.3142 | -10.6
11 | -26.82 | 1.9218 | 2.5747 | -9.6
12 | -25.64 | 2.4485 | 2.6922 | -10.5
13 | -26.93 | 2.3674 | 2.693 | -10

## PA-N
Zeta potential (mV) of Peptide A modified particles from N terminal
Each test is generated through 30 cycles, the data presents the mean and standard error of the all the dataset
A good rule to evaluate the zeta potential quality is the SD is about 10% but not less than 2mV
The resolution of the Zeta Sizer is 0.01mV, and the diameter of the nanoparticle is 500nm
Particle | Mean | SE | SD
1 | -30.47 | 0.88734 | 2.9556 | -9.7
2 | -32.24 | 0.98465 | 3.0306 | -9.4
3 | -26.42 | 1.0855 | 2.5363 | -9.6
4 | -29.25 | 0.92301 | 2.7495 | -9.4
5 | -24.7 | 0.88372 | 2.5441 | -10.3
6 | -28.04 | 1.2755 | 2.6077 | -9.3
7 | -21.22 | 1.1763 | 2.1432 | -10.1
8 | -29.97 | 1.1492 | 2.967 | -9.9
9 | -30.67 | 1.3145 | 2.9137 | -9.5